Engineering Technical Bulletin

No. 005-12-03                                                                                September 6, 2017

Texas Department of Insurance Approved Products

Listed below are the wall panels that are approved on the TDI windstorm website.

| Panel | TDI Approval Number | Substrate | Design Load |
| --- | --- | --- | --- |
| 16" Designer Series Fluted | EC-94 | Min. 16 ga. Purlins | -40.00 psf at 6'-0" -85.00 psf at 2'-0" |
| 26 ga. AVP Panel | EC-95 | Min. 16 ga. Purlins | -45.30 psf at 7'-0" -161.30 psf at 2'-0" |
| PBR Wall Panel | EC-96 | Min. 16 ga. Purlins | 29 ga. -55.00 psf at 4'-0" 26 ga. -80.00 psf at 4'-0" 24 ga. -90.00 psf at 4'-0" 22 ga. -142.50 psf at 4'-0" |
| FW-120 Panel | EC-97 | Min. 16 ga. Purlins | -43.75 psf at 4'-0" -151.00 psf at 1'-0" |
| Artisan L-12 Panel | EC-98 | Min. 16 ga. Purlins | -50.00 psf at 4'-0" -85.00 psf at 1'-0" |
| ShadowRib Panel | EC-99 | Min. 16 ga. Purlins | -30.40 psf at 7'-0" -95.00 psf at 2'-0" |
| 12" Designer Series Flat | EC-100 | Min. 16 ga. Purlins | -30.00 psf at 8'-0" -110.00 psf at 2'-0" |

The TDI Evaluation reports can be found at the following link:

http://www.tdi.texas.gov/wind/prod/ECFormedMetalPanel.html

To get TDI approval, the panel does not have to be listed on the TDI website. Independent testing can be provided to the TDI inspector for approval. Please contact Jason Allen at 281-847-8612 to see if a specific panel not listed above can be approved.